## pt_mike2_results
scenario | pv_filename | pv_scaleable | pv_kW_peak | load_folder | arrangement | pv_capex_scaleable | pv_cap_id | cp | all_residents | parent | network_tariff | en_capex_id | a_term | a_rate | scenario | scenario_label | arrangement | number_of_households | load_folder | en_opex | en_capex_repayment | pv_capex_repayment | average_hh_bill$ | average_hh_solar_bill$ | average_hh_total$ | central_battery_SOH | central_battery_capacity_kWh | central_battery_cycles | checksum_total_payments$ | cp_ratio | cust_bill_cp | cust_solar_bill_cp | cust_total$_cp | eno$_bat_capex_repay | eno$_demand_charge | eno$_energy_bill | eno$_npv_building | eno$_receipts_from_residents | eno$_total_payment | eno_net$ | export_kWh | import_kWh | pv_ratio | retailer_bill$ | retailer_receipt$ | self-consumption | self-consumption_OLD | self-sufficiency | self-sufficiency_OLD | solar_retailer_profit | total$_building_costs | total_battery_losses | total_building_load
0 |  | FALSE |  | W_new | bau | FALSE |  | DMO_TOU | DMO_TOU | TIDNULL | EA305 |  | 20 | 0.06 | 0 | pt_mike2_000 | bau | 72 | W_new | 0 | 0 | 0 | 1368.7064 | 0 | 1368.7064 | 0 | 0 | 0 | 0 | 21.5439 | 19936.9405 | 0 | 19936.9405 | 0 | 0 | 0 | -1375188.9163 | 0 | 0 | 0 | 1.9813 | 408793.8863 | 0 | 38480.5328 | 118483.8019 | 100 | 100 | 0 | 0 | 0 | 118483.8019 | 0 | 408791.905
1 | W_max_pv_1kW.csv | TRUE | 75 | W_new | en_pv | TRUE | W_75_50 | DMO_TOU | EN_PT_D | EN_P | EA305 | capex_med | 20 | 0.06 | 1 | pt_mike2_001 | en_pv | 72 | W_new | 18000 | 4195.4203 | 12418.616 | 1561.8926 | 0 | 1561.8926 | 0 | 0 | 0 | -1.8626e-11 | 21.5439 | 19936.9405 | 0 | 19936.9405 | 0 | 19821.4795 | 68795.5905 | -1200229.6543 | 132393.2042 | 103409.6268 | 28983.5774 | 7088.569 | 313399.1498 | 25.0693 | 35632.698 | 68795.5905 | 93.0831 | 93.0831 | 23.3353 | 23.3353 | 0 | 103409.6268 | 0 | 408791.905
2 | W_max_pv_1kW.csv | TRUE | 75 | W_new | en_pv | TRUE | W_75_50 | DMO_TOU | EN_PT_N | EN_P | EA305 | capex_med | 20 | 0.06 | 2 | pt_mike2_002 | en_pv | 72 | W_new | 18000 | 4195.4203 | 12418.616 | 1368.7064 | 0 | 1368.7064 | 0 | 0 | 0 | 1.8626e-11 | 21.5439 | 19936.9405 | 0 | 19936.9405 | 0 | 19821.4795 | 68795.5905 | -1200229.6543 | 118483.8018 | 103409.6268 | 15074.1751 | 7088.569 | 313399.1498 | 25.0693 | 35632.698 | 68795.5905 | 93.0831 | 93.0831 | 23.3353 | 23.3353 | 0 | 103409.6268 | 0 | 408791.905
3 | W_max_pv_1kW.csv | TRUE | 75 | W_new | en_pv | TRUE | W_75_50 | DMO_TOU | EN_PT_H | EN_P | EA305 | capex_med | 20 | 0.06 | 3 | pt_mike2_003 | en_pv | 72 | W_new | 18000 | 4195.4203 | 12418.616 | 1264.0246 | 0 | 1264.0246 | 0 | 0 | 0 | -1.8626e-11 | 21.5439 | 19936.9405 | 0 | 19936.9405 | 0 | 19821.4795 | 68795.5905 | -1200229.6543 | 110946.7143 | 103409.6268 | 7537.0875 | 7088.569 | 313399.1498 | 25.0693 | 35632.698 | 68795.5905 | 93.0831 | 93.0831 | 23.3353 | 23.3353 | 0 | 103409.6268 | 0 | 408791.905
4 | W_max_pv_1kW.csv | TRUE | 75 | W_new | en_pv | TRUE | W_75_50 | DMO_TOU | EN_PT_Z | EN_P | EA305 | capex_med | 20 | 0.06 | 4 | pt_mike2_004 | en_pv | 72 | W_new | 18000 | 4195.4203 | 12418.616 | 1159.3429 | 0 | 1159.3429 | 0 | 0 | 0 | -1.8626e-11 | 21.5439 | 19936.9405 | 0 | 19936.9405 | 0 | 19821.4795 | 68795.5905 | -1200229.6543 | 103409.6268 | 103409.6268 | 4.3845e-06 | 7088.569 | 313399.1498 | 25.0693 | 35632.698 | 68795.5905 | 93.0831 | 93.0831 | 23.3353 | 23.3353 | 0 | 103409.6268 | 0 | 408791.905
9 | W_max_pv_1kW.csv | TRUE | 75 | W_new | en_pv | TRUE | W_75_50 | DMO_TOU | EN_PTBP_D | EN_P | EA305 | capex_med | 20 | 0.06 | 9 | pt_mike2_009 | en_pv | 72 | W_new | 18000 | 4195.4203 | 12418.616 | 964.1858 | 0 | 964.1858 | 0 | 0 | 0 | -1.8626e-11 | 21.5439 | 19936.9405 | 0 | 19936.9405 | 0 | 19821.4795 | 68795.5905 | -1200229.6543 | 89358.3193 | 103409.6268 | -14051.3075 | 7088.569 | 313399.1498 | 25.0693 | 35632.698 | 68795.5905 | 93.0831 | 93.0831 | 23.3353 | 23.3353 | 0 | 103409.6268 | 0 | 408791.905
10 | W_max_pv_1kW.csv | TRUE | 75 | W_new | en_pv | TRUE | W_75_50 | DMO_TOU | EN_PTBP_N | EN_P | EA305 | capex_med | 20 | 0.06 | 10 | pt_mike2_010 | en_pv | 72 | W_new | 18000 | 4195.4203 | 12418.616 | 1368.5071 | 0 | 1368.5071 | 0 | 0 | 0 | 1.8626e-11 | 21.5439 | 19936.9405 | 0 | 19936.9405 | 0 | 19821.4795 | 68795.5905 | -1200229.6543 | 118469.4486 | 103409.6268 | 15059.8218 | 7088.569 | 313399.1498 | 25.0693 | 35632.698 | 68795.5905 | 93.0831 | 93.0831 | 23.3353 | 23.3353 | 0 | 103409.6268 | 0 | 408791.905
11 | W_max_pv_1kW.csv | TRUE | 75 | W_new | en_pv | TRUE | W_75_50 | DMO_TOU | EN_PTBP_H | EN_P | EA305 | capex_med | 20 | 0.06 | 11 | pt_mike2_011 | en_pv | 72 | W_new | 18000 | 4195.4203 | 12418.616 | 709.3856 | 0 | 709.3856 | 0 | 0 | 0 | 0 | 21.5439 | 19936.9405 | 0 | 19936.9405 | 0 | 19821.4795 | 68795.5905 | -1200229.6543 | 71012.7002 | 103409.6268 | -32396.9265 | 7088.569 | 313399.1498 | 25.0693 | 35632.698 | 68795.5905 | 93.0831 | 93.0831 | 23.3353 | 23.3353 | 0 | 103409.6268 | 0 | 408791.905
12 | W_max_pv_1kW.csv | TRUE | 75 | W_new | en_pv | TRUE | W_75_50 | DMO_TOU | EN_PTBP_Z | EN_P | EA305 | capex_med | 20 | 0.06 | 12 | pt_mike2_012 | en_pv | 72 | W_new | 18000 | 4195.4203 | 12418.616 | 1159.2825 | 0 | 1159.2825 | 0 | 0 | 0 | -1.8626e-11 | 21.5439 | 19936.9405 | 0 | 19936.9405 | 0 | 19821.4795 | 68795.5905 | -1200229.6543 | 103405.2811 | 103409.6268 | -4.3456 | 7088.569 | 313399.1498 | 25.0693 | 35632.698 | 68795.5905 | 93.0831 | 93.0831 | 23.3353 | 23.3353 | 0 | 103409.6268 | 0 | 408791.905
[23 empty] | Bill savings | ENO profit
[22 empty] | DMO_TOU | 0 | 0
[22 empty] | EN_PT_D | -193.1861 | 402.5497
[22 empty] | EN_PT_N | 5.4409e-07 | 209.3635
[22 empty] | EN_PT_H | 104.6818 | 104.6818
[22 empty] | EN_PT_Z | 209.3635 | 6.0896e-08
[22 empty] | EN_PTBP_D | 404.5206 | -195.157
[22 empty] | EN_PTBP_N | 0.19935 | 209.1642
[22 empty] | EN_PTBP_H | 659.3209 | -449.9573
[22 empty] | EN_PTBP_Z | 209.4239 | -0.060356